## Hoja1
ID | Name | Alarm text [en-US], Alarm text 1 | FieldInfo [Alarm text 1] | Class | Trigger tag | Trigger bit | Trigger mode | Acknowledgement tag | Acknowledgement bit | PLC acknowledgement tag | PLC acknowledgement bit | Priority | Info text [en-US], Info text | Additional text 1 [en-US], Alarm text 2 | FieldInfo [Alarm text 2] | Additional text 2 [en-US], Alarm text 3 | FieldInfo [Alarm text 3] | Additional text 3 [en-US], Alarm text 4 | FieldInfo [Alarm text 4] | Additional text 4 [en-US], Alarm text 5 | FieldInfo [Alarm text 5] | Additional text 5 [en-US], Alarm text 6 | FieldInfo [Alarm text 6] | Additional text 6 [en-US], Alarm text 7 | FieldInfo [Alarm text 7] | Additional text 7 [en-US], Alarm text 8 | FieldInfo [Alarm text 8] | Additional text 8 [en-US], Alarm text 9 | FieldInfo [Alarm text 9] | Additional text 9 [en-US], Alarm text 10 | FieldInfo [Alarm text 10] | Alarm parameter 1 | Alarm parameter 2 | Alarm parameter 3 | Alarm parameter 4 | Alarm parameter 5 | Alarm parameter 6 | Alarm parameter 7 | Alarm parameter 8 | Alarm parameter 9 | Alarm parameter 10 | Area | Origin | Audit class
1 | CRI-AGROB_Circuito_On_Off_PS28_TA001_1 | Circuito 1 PS28_TA001_1 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 29 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
2 | CRI-AGROB_Circuito_On_Off_PS28_TA001_2 | Circuito 2 PS28_TA001_2 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 30 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
3 | CRI-AGROB_Circuito_On_Off_PS28_TA001_3 | Circuito 3 PS28_TA001_3 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 31 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
4 | CRI-AGROB_Circuito_On_Off_PS28_TA001_4 | Circuito 4 PS28_TA001_4 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 16 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
5 | CRI-AGROB_Circuito_On_Off_PS28_TA001_5 | Circuito 5 PS28_TA001_5 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 17 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
6 | CRI-AGROB_Circuito_On_Off_PS28_TA001_6 | Circuito 6 PS28_TA001_6 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 18 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
7 | CRI-AGROB_Circuito_On_Off_PS28_TA001_7 | Circuito 7 PS28_TA001_7 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 19 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
8 | CRI-AGROB_Circuito_On_Off_PS28_TA001_8 | Circuito 8 PS28_TA001_8 |  | CRI-AGROB_Circ_On_Off | PS28_TA001.Inputs | 20 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
13 | CRI-AGROB_Falla_Guardamotor_PS28_TA001 | Falla Guardamotor PS28_TA001 |  | CRI-AGROB_Alarm_Guarda | PS28_TA001.Inputs | 28 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
14 | CRI-AGROB_Supervisor_Volt_PS28_TA001 | Supervisor Voltaje PS28_TA001 |  | CRI-AGROB_Alarm_Sup_Volt | PS28_TA001.Inputs | 27 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
15 | CRI-AGROB_Supervisor_Trans_PS28_TA001 | Supervisor Transientes PS28_TA001 |  | CRI-AGROB_Alarm_Sup_Tras | PS28_TA001.Inputs | 26 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
16 | CRI-AGROB_Paro_Emergencia_PS28_TA001 | Paro Emergencia PS28_TA001 |  | CRI-AGROB_Stop_Parada | PS28_TA001.Inputs | 11 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
17 | CRI-AGROB_Desactiva_GM_PS28_TA001_1 | Desactiva Circuito 1 PS28_TA001_1 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
18 | CRI-AGROB_Desactiva_GM_PS28_TA001_2 | Desactiva Circuito 2 PS28_TA001_2 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 1 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
19 | CRI-AGROB_Desactiva_GM_PS28_TA001_3 | Desactiva Circuito 3 PS28_TA001_3 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 2 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
20 | CRI-AGROB_Desactiva_GM_PS28_TA001_4 | Desactiva Circuito 4 PS28_TA001_4 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 3 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
21 | CRI-AGROB_Desactiva_GM_PS28_TA001_5 | Desactiva Circuito 5 PS28_TA001_5 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 4 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
22 | CRI-AGROB_Desactiva_GM_PS28_TA001_6 | Desactiva Circuito 6 PS28_TA001_6 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 5 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
23 | CRI-AGROB_Desactiva_GM_PS28_TA001_7 | Desactiva Circuito 7 PS28_TA001_7 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 6 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
24 | CRI-AGROB_Desactiva_GM_PS28_TA001_8 | Desactiva Circuito 8 PS28_TA001_8 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaGM | 7 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
29 | CRI-AGROB_Stat_Comm_PS28_TA001 | Status Comunicacion PLC PS28_TA001 |  | CRI-AGROB_Comunicaciones | PS28_TA001.Stat_Comm | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
30 | CRI-AGROB_Stat_Comm_MB_PS28_TA001 | Status Comunicacion Modbus PS28_TA001 |  | CRI-AGROB_Comunicaciones | PS28_TA001.Stat_Comm_MB | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
31 | CRI-AGROB_Alarma_Temp_TCP_PS28_TA001 | Alarma Temperatura TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
32 | CRI-AGROB_Alarma_Armonicos_V_L1_TCP_PS28_TA001 | Alarma Armonicos Voltaje Fase L1 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 10 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
33 | CRI-AGROB_Alarma_Armonicos_V_L2_TCP_PS28_TA001 | Alarma Armonicos Voltaje Fase L2 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 11 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
34 | CRI-AGROB_Alarma_Armonicos_V_L3_TCP_PS28_TA001 | Alarma Armonicos Voltaje Fase L3 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 12 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
35 | CRI-AGROB_Alarma_Voltaje_L1L2_TCP_PS28_TA001 | Alarma Voltaje L1L2 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 13 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
36 | CRI-AGROB_Alarma_Voltaje_L2L3_TCP_PS28_TA001 | Alarma Voltaje L2L3 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 14 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
37 | CRI-AGROB_Alarma_Voltaje_L3L1_TCP_PS28_TA001 | Alarma Voltaje L3L1 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 15 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
38 | CRI-AGROB_Alarma_Cos_L1_TCP_PS28_TA001 | Alarma Cos Fase L1 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 26 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
39 | CRI-AGROB_Alarma_Cos_L2_TCP_PS28_TA001 | Alarma Cos Fase L2 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 27 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
40 | CRI-AGROB_Alarma_Cos_L3_TCP_PS28_TA001 | Alarma Cos Fase L3 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm1 | 28 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
41 | CRI-AGROB_Alarma_Armonicos_I_L1_TCP_PS28_TA001 | Alarma Armonicos Corriente Fase L1 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 3 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
42 | CRI-AGROB_Alarma_Armonicos_I_L2_TCP_PS28_TA001 | Alarma Armonicos Corriente Fase L2 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 4 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
43 | CRI-AGROB_Alarma_Armonicos_I_L3_TCP_PS28_TA001 | Alarma Armonicos Corriente Fase L3 TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 5 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
44 | CRI-AGROB_Alarma_Energia_Inductiva_TCP_PS28_TA001 | Alarma Energia Inductiva TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 10 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
45 | CRI-AGROB_Alarma_Energia_Capacitiva_TCP_PS28_TA001 | Alarma Energia Capacitiva TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 11 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
46 | CRI-AGROB_Alarma_Sobrecompensacion_TCP_PS28_TA001 | Alarma Sobrecompensacion TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 12 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
47 | CRI-AGROB_Alarma_Subcompensacion_TCP_PS28_TA001 | Alarma Subcompensacion TCP PS28_TA001 |  | CRI-AGROB_Alarmas | PS28_TA001.Alarm2 | 13 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
48 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_1 | Paso 1 Configurado TCP PS28_TA001_1 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
49 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_2 | Paso 2 Configurado TCP PS28_TA001_2 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 1 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
50 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_3 | Paso 3 Configurado TCP PS28_TA001_3 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 2 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
51 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_4 | Paso 4 Configurado TCP PS28_TA001_4 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 3 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
52 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_5 | Paso 5 Configurado TCP PS28_TA001_5 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 4 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
53 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_6 | Paso 6 Configurado TCP PS28_TA001_6 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 5 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
54 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_7 | Paso 7 Configurado TCP PS28_TA001_7 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 6 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
55 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_8 | Paso 8 Configurado TCP PS28_TA001_8 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 7 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
56 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_9 | Paso 9 Configurado TCP PS28_TA001_9 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 8 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
57 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_10 | Paso 10 Configurado TCP PS28_TA001_10 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 9 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
58 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_11 | Paso 11 Configurado TCP PS28_TA001_11 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 10 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
59 | CRI-AGROB_Pasos_Config_TCP_PS28_TA001_12 | Paso 12 Configurado TCP PS28_TA001_12 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Habilit | 11 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
60 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_1 | Paso 1 Activado TCP PS28_TA001_1 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
61 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_2 | Paso 2 Activado TCP PS28_TA001_2 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 1 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
62 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_3 | Paso 3 Activado TCP PS28_TA001_3 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 2 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
63 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_4 | Paso 4 Activado TCP PS28_TA001_4 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 3 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
64 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_5 | Paso 5 Activado TCP PS28_TA001_5 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 4 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
65 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_6 | Paso 6 Activado TCP PS28_TA001_6 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 5 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
66 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_7 | Paso 7 Activado TCP PS28_TA001_7 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 6 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
67 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_8 | Paso 8 Activado TCP PS28_TA001_8 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 7 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
68 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_9 | Paso 8 Activado TCP PS28_TA001_9 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 8 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
69 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_10 | Paso 8 Activado TCP PS28_TA001_10 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 9 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
70 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_11 | Paso 8 Activado TCP PS28_TA001_11 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 10 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
71 | CRI-AGROB_Pasos_Activos_TCP_PS28_TA001_12 | Paso 8 Activado TCP PS28_TA001_12 |  | CRI-AGROB_Operacion | PS28_TA001.Pasos_Acti | 11 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
72 | CRI-AGROB_Comm_Ant_PS28_TA001 | Alarma Perdida Comunicacion Antena PS28_TA001 |  | CRI-AGROB_Umbral_Antenas | Ant_Stat_PS28_TA001 | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
73 | CRI-AGROB_On_Off_Remoto_Piscina_PS28 | Remoto On/Off PS28 |  | CRI-AGROB_Operacion | PS27.Run_Rem | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
74 | CRI-AGROB_Manual_Auto_Remoto_Piscina_PS28 | Operacion Manual/Automatico PS28 |  | CRI-AGROB_Operacion | PS27.Bloq_Auto_Hora | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
75 | CRI-AGROB_Selector_Horario_Piscina_PS28 | Selector Horario Global/Individual PS28 |  | CRI-AGROB_Operacion | PS27.Sel_Horario | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>
76 | CRI-AGROB_Desactiva_TA_PS28_TA001 | DesactivaTA PS28_TA001 |  | CRI-AGROB_Operacion | PS28_TA001.DesactivaTA | 0 | On rising edge | <No value> | 0 | <No value> | 0 | 0 | <No value> | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> |  | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | HMI_RT_1::Alarming |  | <No value>